## FRAEW Summary V4
FRAEW SUMMARY MUST BE COMPLETED BY THE FIRE RISK ENGINEER RESPONSIBLE FOR THE FRAEW.
Question ID | FRAEW Summary
Headline Information
FR01 | Application reference number
FR02 | Building Name
FR03 | Building Address Line 1
FR04 | Block within wider Development (if applicable)
FR05 | Height of building (Storeys)
FR06 | Height of the building, including the ground level, in metres (measured in accordance with Diagram D6 in approved document B)
FRAEW Details
FR07 | FRAEW instructed date (DD/MM/YYYY)
FR08 | FRAEW survey date (DD/MM/YYYY)
FR09 | Name of author of report
FR10 | Name of person peer reviewing report
FR11 | Firm undertaking report
FR12 | Cost of FRAEW survey
FR13 | Is the FRAEW assessment basic or complex?
Interim Measures, Strategies and Access
FR14 | Is the building in interim measures?
FR15 | What type of interim measures are in place? (if applicable)
FR16 | What is the current evacuation strategy? (if applicable)
FR17 | Do you know the number of stairwells?
FR18 | What are the number of stairwells?
FR19 | Are there management policies in place for the external wall and balconies? (if applicable)
FR20 | Does the building have any fire & rescue service access restrictions?
FR21 | What are the fire & rescue service access restrictions? (if applicable)
Works to cladding systems
FR22 | Identify each of the external wall cladding systems which contribute to the life safety risk of the building. For each cladding system identify the cladding type and the insulation material and manufacturers where known. Please list each external wall cladding system separately.
External Wall Cladding System 1 (option to add more)
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 2
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 3
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 4
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 5
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 6
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 7
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 8
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 9
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
External Wall Cladding System 10
Cladding type
Cladding manufacturer
Other 'Please specify'
Insulation material
Insulation manufacturer
Other 'Please specify'
Please add further rows, if additional cladding systems are required.
FR23 | What is the approximate total area of cladding which you are recommending is subject to remediation/mitigation to address the life safety risk of the building? (Square metres)
Other External Wall Elements
FR24 | Are there any other external elements in addition to cladding you are recommending are subject to remediation or mitigation works? Y/N
FR25 | If there are, please summarise the other external wall elements you are recommending:
Other external wall element 1 (option to add more)
If 'other' selected please describe here
Other external wall element 2
If 'other' selected please describe here
Other external wall element 3
If 'other' selected please describe here
Please add further rows, if additional external wall elements are required.
Internal works
FR26 | Are there any internal works which you are recommending to address the life safety risk you have identified? Y/N
FR27 | If there are, please summarise the internal elements you are recommending:
Internal element 1 (option to add more)
If 'other' selected please describe here
Internal element 2
If 'other' selected please describe here
Internal element 3
If 'other' selected please describe here
Please add further rows, if additional internal works are required.
Recommendations
FR28 | What is your assessment of the life safety risk of the building associated with the external wall systems, in accordance with PAS 9980? Select one that applies.
FR29 | Do you recommend full replacement of cladding, partial replacement of cladding or no replacement of cladding (alternative mitigation works only)?
FR30 | What are the potential courses of action for remediation/mitigation to address the life safety risk of the building? Select more than one if applicable (option to add more)
FR31 | Please summarise the most cost effective course of action from the options listed above (FR27) that will remediate the life safety risk. This is the option that will be funded through the Cladding Safety Scheme. Please include within this summary: - Which of the cladding systems or other elements of the building (from questions FR20-24) you are recommending for remediation/mitigation. - To what extent these are going to be remediated/mitigated and how. - The cost of remediation/mitigation of each of these elements. - A short summary as to how the different elements of your recommendation will come together to remediate the overall life safety risk of the building. | 2000 characters
FR32 | What other options did you consider instead of the preferred choice you identified above? | 2000 characters
FR33 | Please state any caveats or limitations on the conclusions in your FRAEW | 2000 characters
FR34 | Do you recommend the building be put in interim measures? Y/N
FR35 | What type of interim measures do you recommend? (if applicable)
Additonal interim measures 2
Additonal interim measures 3
Additonal interim measures 4
Additonal interim measures 5
If 'other' selected please describe here

## FR21 Dropdowns (hidden)
FR21 - External Wall Cladding Systems
Q1. Cladding Type | Q2. Cladding Manufacturer | Q3. Insulation Material | Q4. Insulation Manufacturer
Options: | Options: | Options: | Options:
Cement Fibre | 3A Composites | Class A1 or A2 insulation - Mineral wool | 3A Composites
Ceramic Tile | Abet Laminati | Class A1 or A2 insulation - Other | Abet Laminati
Clay tile | Alpolic | Class A1 or A2 insulation - Unknown | Alpolic
Concrete (in-situ, precast, faced) | Alucoil | Rigid (thermoset) foam - Other | Alucoil
Curtain wall (glazed or solid panel) | Arconic | Rigid (thermoset) foam - Phenolic | Arconic
ETICS (Render) | Celotex | Rigid (thermoset) foam - Polyisocyanurate (PIR) | Celotex
Fibre glass | Equitone (fibre cement) | Rigid (thermoset) foam - Polyurethane (PUR) | Equitone (fibre cement)
Glass | Fairview Group | Rigid (thermoset) foam - Unknown | Fairview Group
High pressure laminate (HPL) | Formica | Thermoplastic insulation - EPS foam | Formica
Masonry (with or without render) | FunderMax | Thermoplastic insulation - Multifoil insulation | FunderMax
Metal Composite Panel - ACM Category 1 | Genius Faces (aluminium) | Thermoplastic insulation - Other | Genius Faces (aluminium)
Metal Composite Panel - ACM Category 2 | Kingspan | Thermoplastic insulation - Unknown | Kingspan
Metal Composite Panel - ACM Category 3 | Kronospan | Thermoplastic insulation - XPS foam | Kronospan
Metal Composite Panel - MCM Category 1 | Not Known | None | Not known
Metal Composite Panel - MCM Category 2 | Other | Other | Other
Metal Composite Panel - MCM Category 3 | Parklex |  | Parklex
Metal composite panel - unknown | Prodema |  | Prodema
Metal Panel - Aluminium | Recticel |  | Recticel
Metal Panel - Copper | Rockpanel (panels) |  | Rockpanel (panels)
Metal Panel - Other | Rockwool (compressed mineral wool) |  | Rockwool (compressed mineral wool)
Metal Panel - Steel | Saint Gobain Weber |  | Saint Gobain Weber
Metal Panel - Zinc | Sto |  | Sto
Natural stone | Trespa (laminate) |  | Trespa (laminate)
Not Known | Valcan (aluminium / fibre cement) |  | Valcan (aluminium / fibre cement)
Other | Vivalda |  | Vivalda
Plastics | Wetherby |  | Wetherby
Reconstituted stone | Wezalit |  | Wezalit
Sandwich panel | Xtratherm |  | Xtratherm
Stone tile
Timber

## FR23 Dropdowns (hidden)
FR23 - Other External Wall Elements
Options:
Balconies
Roof terraces - by materials
Spandrel/infill panels
Green wall
PV array
Other
High pressure laminate (HPL)

## FR25 Dropdowns (hidden)
FR25 - Assessment of risk
Options:
Low
Medium - tolerable
Medium - action required
High

## FR26 Dropdowns (hidden)
FR26 - Full, Partial or Mitigation
Options:
Full replacement of cladding
Partial replacement of cladding
No replacement of cladding (alternative mitigation works only)

## FR27 Dropdowns (hidden)
FR27 - Full, Partial or Mitigation
Options:
Complete removal and replacement of the unique cladding system or systems
Partial removal and replacement of the unique cladding system or systems
Encapsulation of the combustable materials present in the cladding system
Filling cavities with non-combustable insulation
Works to Fire Barriers
Insulation or upgrades to fire alarms and or smoke detection
Works to improve access and facilities for the fire service
Works to means of escape
Works to smoke extraction
Works to internal compartmentation
Don't know
Other

## FR32 Dropdowns (hidden)
FR27 - Full, Partial or Mitigation
Options:
Common fire alarm
Waking watch
Evactuation management
Similteaneous evactuation strategy
Fire, heat, smoke detection
Fire supression system
Not captured
Other (please specify)

## Hidesheet 2 (hidden)
Yes, I have exhausted all other routes of funding and am unable to claim any funding
Yes, I am in the process of pursuing other routes of funding
No, there are still other routes of funding that I could pursue
Developer that has signed the developer’s pledge
Developer that has not signed the developer's pledge
Warranty, insurance or other claim against contractor or design team
Other
Representative's account
Responsible entity's account
Confirm
Cannot Confirm
Not Applicable
Low
Medium
High
Residential only
Mixed use
Common Fire Alarm
Waking Watch
Evacuation Management
Simultaneous Evacuation Strategy
Fire,Heat,Smoke Detection
Fire Supression System
Other (Please specify)
Simultaneous evacuation
Stay Put
Temporary Simultaneous evacuation
Other (Please specify)
Yes-both
Yes-balconies
Yes- roof terraces
No
Low
Medium-action required
Medium-tolerable
High
One course of action
A choice of courses of actions
No actions
Complete removal and replacement of the unique cladding system or systems
Partial removal and replacement of the unique cladding system or systems
Encapsulation of the combustible materials present in the cladding system
Filling cavities with non-combustible insulation
Works to Fire Barriers
Installation or upgrades to fire alarms and or smoke detection
Works to improve access and facilities for the fire service
Works to means of escape
Works to smoke extraction
Works to internal compartmentation
Other
Don’t know
Yes
No